Buildings.Fluid.Chillers.Examples.AbsorptionIndirectSteamVaryingLoad

Absorption chiller with varying cooling load

Information

This model validatesBuildings.Fluid.Chillers.AbsorptionIndirectSteam. for the case with varying cooling load.

The model is constructed in a way that the temperatures which determine the performance of the absorption chiller are kept constant in order to monitor the effects of the part load behavior on the ratio of the provided cooling to the required steam.

Revisions

- December 13, 2019, by Michael Wetter:
First implementation.

Filename: C:/Users/Mikhail/AppData/Roaming/.openmodelica/libraries/Buildings 13.0.0/Fluid/Chillers/Examples/AbsorptionIndirectSteamVaryingLoad.mo
Version: 13.0.0
Version Date: 2026-05-04
Date Modified: 2026-05-04