Buildings.Fluid.Chillers.Examples.ElectricReformulatedEIR

Test model for chiller electric reformulated EIR

Information

Example that simulates a chiller whose efficiency is computed based on the condenser leaving and evaporator leaving fluid temperature. A bicubic polynomial is used to compute the chiller part load performance.

Revisions

- August 14, 2014, by Michael Wetter:
Added missing redeclare keyword in performance data redeclaration. This avoids an error in OpenModelica.

- September 17, 2010, by Michael Wetter:
First implementation.

Filename: C:/Users/Mikhail/AppData/Roaming/.openmodelica/libraries/Buildings 13.0.0/Fluid/Chillers/Examples/ElectricReformulatedEIR.mo
Version: 13.0.0
Version Date: 2026-05-04
Date Modified: 2026-05-04