Buildings.Fluid.Chillers.Examples.ElectricReformulatedEIR

Test model for chiller electric reformulated EIR

Information

Example that simulates a chiller whose efficiency is computed based on the condenser leaving and evaporator leaving fluid temperature. A bicubic polynomial is used to compute the chiller part load performance.

Revisions

- August 14, 2014, by Michael Wetter:
Added missing redeclare keyword in performance data redeclaration. This avoids an error in OpenModelica.

- September 17, 2010, by Michael Wetter:
First implementation.

within Buildings.Fluid.Chillers.Examples;

model ElectricReformulatedEIR

"Test model for chiller electric reformulated EIR"

extends Modelica.Icons.Example;

extends Buildings.Fluid.Chillers.Examples.BaseClasses.PartialElectric(

P_nominal=-per.QEva_flow_nominal/per.COP_nominal,

mEva_flow_nominal=per.mEva_flow_nominal,

mCon_flow_nominal=per.mCon_flow_nominal,

sou1(nPorts=1),

sou2(nPorts=1));

parameter

Data.ElectricReformulatedEIR.ReformEIRChiller_McQuay_WSC_471kW_5_89COP_Vanes

per "Chiller performance data"

annotation (Placement(transformation(extent={{60,80},{80,100}})));

Buildings.Fluid.Chillers.ElectricReformulatedEIR chi(

redeclare package Medium1 = Medium1,

redeclare package Medium2 = Medium2,

per=per,

energyDynamics=Modelica.Fluid.Types.Dynamics.FixedInitial,

dp1_nominal=6000,

dp2_nominal=6000) "Chiller model"

annotation (Placement(transformation(extent={{0,0},{20,20}})));

equation

connect(sou1.ports[1], chi.port_a1) annotation (Line(

points={{-40,16},{0,16}},

color={0,127,255},

smooth=Smooth.None));

connect(chi.port_b1, res1.port_a) annotation (Line(

points={{20,16},{26,16},{26,40},{32,40}},

color={0,127,255},

smooth=Smooth.None));

connect(sou2.ports[1], chi.port_a2) annotation (Line(

points={{40,4},{20,4}},

color={0,127,255},

smooth=Smooth.None));

connect(chi.port_b2, res2.port_a) annotation (Line(

points={{0,4},{-10,4},{-10,-20},{-20,-20}},

color={0,127,255},

smooth=Smooth.None));

connect(chi.on, greaterThreshold.y) annotation (Line(

points={{-2,13},{-8,13},{-8,90},{-19,90}},

color={255,0,255},

smooth=Smooth.None));

connect(TSet.y, chi.TSet) annotation (Line(

points={{-59,60},{-20,60},{-20,8},{-2,8},{-2,7}},

color={0,0,127},

smooth=Smooth.None));

annotation (

experiment(Tolerance=1e-6, StopTime=14400),

__Dymola_Commands(file="modelica://Buildings/Resources/Scripts/Dymola/Fluid/Chillers/Examples/ElectricReformulatedEIR.mos"

"Simulate and plot"),    Documentation(info="<html>

<p>

Example that simulates a chiller whose efficiency is computed based on the

condenser leaving and evaporator leaving fluid temperature.

A bicubic polynomial is used to compute the chiller part load performance.

</p>

</html>", revisions="<html>

<ul>

<li>

August 14, 2014, by Michael Wetter:<br/>

Added missing <code>redeclare</code> keyword in

performance data redeclaration.

This avoids an error in OpenModelica.

</li>

<li>

September 17, 2010, by Michael Wetter:<br/>

First implementation.

</li>

</ul>

</html>"),

Diagram(coordinateSystem(extent={{-100,-100},{100,120}})),

Icon(coordinateSystem(extent={{-100,-100},{100,100}})));

end ElectricReformulatedEIR;